## Slide 1: RNA-seq analysis in R
Introduction to R for Bioinformatics
Vincenzo Lagani

## Slide 2: A (summary) description of the NGS processes
Principles
Fragmentation and tagging of genomic/cDNA fragments – provides universal primer allowing complex genomes to be amplified with common PCR primers
Template immobilization – DNA separated into single strands and captured onto beads (1 DNA molecule/bead)
Clonal Amplification – Solid Phase Amplification
Sequencing and Imaging – Cyclic reversible termination (CRT) reaction

## Slide 3: Clonal Amplification – Solid Phase Amplification
Priming and extension of single strand, single molecule template; bridge amplification of the immobilized template with immediately primers to form clusters (creates 100-200 million spatially separated template clusters) providing free ends to which a universal sequencing primer can be hybridized to initiate NGS reaction – each cluster represents a population of identical templates

## Slide 4: Cyclic Reversible Termination
Cyclic Reversible Termination – DNA Polymerase bound to primed template adds 1 (of 4) fluorescently modified nucleotide. 3’ terminator group prevents additional nucleotide incorporation.
Following incorporation, remaining unincorporated nucleotides are washed away. Imaging is performed to determine the identity of the incorporated nucleotide.
Cleavage step then removes terminating group and the fluorescent dye. Additional wash is performed before starting next incorporation step
This is repeated ~250 million times (25Gb) with HiSeq2500 (~4 days)

## Slide 5: Paired ended vs Single Read
Single Read: one read sequenced from one end of each sample cDNA insert
(Rd1 SP: Read 1 Seqeuncing Primer)
Paired End: two reads (one from each end) sequenced from each sample cDNA insert (Rd1 and Rd2 sequencing primer)
SR: often used for expression studies or SNP detection; NOT good for splice isoforms
PE: used for discovery of novel transcripts, splice isoforms and for de novo transcriptome assembly

## Slide 6: FASTQ files
Study Type Reads Needed
Expression Profiling 5-10 Million
Alternative splicing, quantifying cSNPs 50-100 M
De Novo Transcriptome Assembly 100-1000 M

## Slide 7: Overview of pipeline for RNA-seq
Reference transcriptome
Alignment
Quantification
Differential expression
Visualization

## Slide 8: Estimating expression in RNA-seq
It depends by the library size
Gene A
Gene B
Sample 1
Sample 2
 | GeneA | GeneB | Library size
Sample 1 | 3 | 7 | 10
Sample 2 | 6 | 14 | 20
Sample 1 (adj) | 0.3 | 0.7 | 
Sample 2 (adj) | 0.3 | 0.7 | 

## Slide 9: Estimating average expression in RNA-seq
… and by the length of the gene
.
Gene A: 2000 bps
Sample 1
Sample 2
 | GeneA | GeneB
Sample 1 (adj) | 0.3 | 0.7
Sample 2 (adj) | 0.3 | 0.7
Sample 1 (FPKM) | 150 | 155.6
Sample 2 (FPKM) | 150 | 155.6
Gene A: 4500 bps

## Slide 10: Example of data after quantification
The SRP061240 dataset in Sequence Read Archive
  Yuan et al. Plasma extracellular RNA profiles in healthy and cancer patients. Scientific Reports 6, Article number: 19413 (2016)

## Slide 11: Distribution of RNA-seq data
Distribution of SRP061240 values > 5 and < 200
The shape is clearly not Gaussian
  Possible solution: log transform?
The Negative Binomial distribution is used instead
  Empirical assumption

## Slide 12: Differential expression in RNA-seq
There are specialized methods
  Simple t-test highly discouraged – data not continuous
The most common R packages are
  DESeq2
  edgeR

## Slide 13: Modelling RNA-seq with Negative Binomial (NB) distribution
The counts for gene i and sample j are supposed to follow the negative distribution
where is the dispersion (measure of variance) of gene i and the mean is distributed as
  takes into account sample-specific effects (e.g., library size)
  is the linear model associating experimental factors and gene expression

## Slide 14: Implications of the NB model
Assuming a negative binomial distribution implies the following relationship between mean values and dispersion:
This means the higher the mean value, the higher the variance